## Slide 1
PS Core Network Capacity Summary
4G SAU Utilization is ~56-58% in All CMM .
Peak throughput for the week-24 412.11 Gb reported on 10th Jun at 21:15hrs .
SAAU Utilization is running less than 40 % in both MDC CMG .
MDC1 NPC Max TPS Utilization is ~ 25.59 % & MDC2 NPC Max TPS Utilization is ~24.17% on 09th Jun 20:00hrs
 |  | Base Capacity | Current Usage | % Utilization
CMMMDC02_TA01 | SAU 2G | 100,000 | 35,096 | 35.10
 | SAU 3G | 500,000 | 205,553 | 41.11
 | SAU 4G | 1,400,000 | 805,559 | 57.54
 |  | Base Capacity | Current Usage | % Utilization
CMMMDC02_TA02 | SAU 2G | 100,000 | 35,143 | 35.14
 | SAU 3G | 500,000 | 206,225 | 41.25
 | SAU 4G | 1,400,000 | 788,951 | 56.35
 |  | Base Capacity | Current Usage | % Utilization
CMG_MDC2 | 2G PDP | 300,000 | 36,882 | 12.29
 | 3G PDP | 1,200,000 | 296,470 | 24.71
 | 4G PDP | 4,500,000 | 2,811,400 | 62.48
 | Total Throughput (Gbps) | 500 | 352.829 | 70.57
 | Combined PDN Sessions | 6,000,000 | 2713533 | 45.23
 |  | Base Capacity | Current Usage | % Utilization
CMMMDC01_TA01 | SAU 2G | 100,000 | 35,162 | 35.16
 | SAU 3G | 500,000 | 212,080 | 42.42
 | SAU 4G | 1,400,000 | 808,937 | 57.78
 |  | Base Capacity | Current Usage | % Utilization
CMMMDC01_TA02 | SAU 2G | 100,000 | 35,259 | 35.26
 | SAU 3G | 500,000 | 211,615 | 42.32
 | SAU 4G | 1,400,000 | 823,124 | 58.79
 |  | Base Capacity | Current Usage | % Utilization
CMG_MDC1 | 2G PDP | 300,000 | 26,014 | 8.67
 | 3G PDP | 1,200,000 | 190,553 | 15.88
 | 4G PDP | 4,500,000 | 1,473,710 | 32.75
 | Total Throughput (Gbps) | 500 | 59.28 | 11.86
 | Combined PDN Sessions | 6,000,000 | 716,785 | 11.95
NPC | DIAMETER TPS CAPACITY UTILISATION |  | 
 | Capacity | Usage | Util.
MDC 1 NPC | 22,000 | 5629.7 | 25.59
MDC 2 NPC | 22,000 | 5317.1 | 24.17